## 1 DataCollection
Water Balance / True Cost of Water Data Collection workbook
Questions? Call Eric Tu at 720 930 2318 or eric.tu@anteagroup.US
Instructions
| Blue Text | Entry required
| Purple Text | Auto calculated; Do not change
| Black Text | Do not change
General Information
| Description | Value | Notes
| Today's Date | 2020-11-09
Company
Location / Site ID
| Division / Operation Classification |  | Ex. Manufacturing + office, Research, warehouse
Facility Size (Sq. Ft)
Typical Operating hours / week
Site Address 1
Site Address 2
City
State
| Zip |  | Name of contact, at the facility
Country
Continent
Corporate Contact Person
Corporate Contact Person Title
Corporate Contact Person Phone
Corporate Contact Person email
Site Contact Person
Site Contact Person Title
Site Contact Person Phone
Site Contact Person Email
| Electricity (total usage at site, kWh/year) | 10 | Most Recent 12 month Electricity
| Electricity (total cost at site, US$/year) | 1 | Most Recent 12 month Electricity
| Electricity (unit cost, US$/kWh) | 0.1 | Most Recent 12 month Electricity
| Natural Gas (total usage at site, kWh/year) | 10 | See Conversion Chart below, most Recent 12 month Natural Gas
| Natural Gas (total cost at site, US$/year) | 1 | Most Recent 12 month Natural Gas
| Natural Gas (unit cost, US$/kWh) | 0.1 | Most Recent 12 month Natural Gas
| Other (total usage at site, kWh/year) | 10 | Most Recent 12 month other type of energy used
| Other (total cost at site, US$/year) | 1 | to support production on regular bases.
| Other (unit cost, US$/kWh) | 0.1 | Ex. Propane, purchased steam, diesel
Unit Conversions (1) find the native unit in the FROM Colum.(2) Enter the value in the Value column.
| From | Value | Metric Unit
| Therms to kWh (enter value, conversion shown in Metric Unit column) | 2 | 58.6
| 1 us gallons of water to M3 | 1 | 0.0038
Incoming Water (aka Water withdrawing) |  | ** most recent 12 month as the year
| Section 1: Description | Value | Notes
| 1.0 Incoming Water - Water Utility Company [m³/year] | 1 | Utility company.
| 1.0 Incoming Water - Water Utility Company [US$/year] | 1 | Cost for the water for the year
| 1.1 Incoming Water - Ground Water [m³/year] | 1 | If there is any ground water used
| 1.1 Incoming Water - Ground Water Permit [US$/year] | 1 | IF there is any cost for permit, etc.
| 1.1 Incoming Water - Ground Water Energy Cost [US$/year] | 1 | Energy cost to pump the water
| 1.2 Incoming Water - Reclaimed Water [m³/year] | 1
| 1.2 Incoming Water - Reclaimed Water Pumps [US$/year] | 1 | Energy cost to pump the water
| 1.2 Incoming Water - Reclaimed Water Treatment [US$/year] | 1 | Cost to treat before using the water?
| 1.3 Incoming Water - Other Source 1 [m³/year] | 1 | Please describe
| 1.3 Incoming Water - Other Source 1 [US$/year] | 1 | Cost associated with this source
| 1.4 Incoming Water - Other Source 2 [m³/year] | 1 | Please describe
| 1.4 Incoming Water - Other Source 2 [US$/year] | 1 | Cost associated with this source
| 1.5 Other costs related to incoming water [US$/year] | 1 | other costs not already accounted for
| Section 2: Description | Value | Notes
| 2.1 Water In Raw Material 1 [m³/year] | 1
| 2.2 Water In Raw Material 2 [m³/year] | 1
| 2.3 Water In Raw Material 3 [m³/year] | 1
Using Water (to manufacture product, used in the product, etc. ) |  | ** most recent 12 month as the year
| Section 3: Description | Value | Notes
| 3.0 Process Water Use [m³/year] | 1 | For material cleaning , etc. that's NOT part of CIP
| 3.0 Process Water Use - CIP [m³/year] | 1 | CIP process
| 3.1. Process Heating - STEAM - System [m³] | 1 | Water in the entire system
| 3.1. Process Heating - STEAM - Cost [US$/year] | 1 | Cost to heat and pump condensate, etc.
| 3.1. Process Heating - STEAM - Lost [m³/year] | 1 | due to leaks, blow down, etc.
| 3.1. Process Heating - STEAM - Maintenance Cost [US$/year] | 1 | Boiler maintenance, repairs, etc.
| 3.2. Process Heating - Hot Water - System [m³] | 1 | Water in the entire system
| 3.2. Process Heating - Hot Water - Cost [US$/year] | 1 | Cost to heat and pump water, etc.
| 3.2. Process Heating - Hot Water - Lost [m³/year] | 1 | due to leaks, blow down, etc.
| 3.2. Process Heating - Hot Water - Maintenance Cost [US$/year] | 1 | Boiler maintenance, repairs, etc.
| 3.3 Process Cooling - Cooling Tower - System [m³] | 1 | Water in the entire system
| 3.3 Process Cooling - Cooling Tower - Cost [US$/year] | 1 | energy cost to run the CT, pumps, etc.
| 3.3 Process Cooling - Cooling Tower - Lost [m³/year] | 1 | due to leaks, refill, etc.
| 3.3 Process Cooling - Cooling Tower - Maintenance Cost [US$/year] | 1 | maintenance, repairs, etc.
| 3.4 Process Cooling - Chillers - System [m³] | 1 | Water in the entire system
| 3.4 Process Cooling - Chillers - Cost [US$/year] | 1 | energy cost to run the entire loop, chiller, pumps, CT etc.
| 3.4 Process Cooling - Chillers - Lost [m³/year] | 1 | due to leaks, refill, etc.
| 3.4 Process Cooling - Chillers - Maintenance Cost [US$/year] | 1 | maintenance, repairs, etc.
| Section 4: Description | Value | Notes
| 4.1 Space Heating - STEAM - System [m³] | 1 | Water in the entire system
| 4.1 Space Heating - STEAM - Cost [US$/year] | 1 | Cost to heat and pump condensate, etc.
| 4.1 Space Heating - STEAM - Lost [m³/year] | 1 | due to leaks, blow down, etc.
| 4.1 Space Heating - STEAM - Maintenance Cost [US$/year] | 1 | Boiler maintenance, repairs, etc.
| 4.2 Space Heating - Hot Water - System [m³] | 1 | Water in the entire system
| 4.2 Space Heating - Hot Water - Cost [US$/year] | 1 | Cost to heat and pump water, etc.
| 4.2 Space Heating - Hot Water - Lost [m³/year] | 1 | due to leaks, blow down, etc.
| 4.2 Space Heating - Hot Water - Maintenance Cost [US$/year] | 1 | Boiler maintenance, repairs, etc.
| Section 5: Description | Value | Notes
| 5.1. Space Cooling - Cooling Tower - System [m³] | 1 | Water in the entire system
| 5.1. Space Cooling - Cooling Tower - Cost [US$/year] | 1 | energy cost to run the CT, pumps, etc.
| 5.1. Space Cooling - Cooling Tower - Lost [m³/year] | 1 | due to leaks, refill, etc.
| 5.1. Space Cooling - Cooling Tower - Maintenance Cost [US$/year] | 1 | maintenance, repairs, etc.
| 5.2. Space Cooling - Chiller - System [m³] | 1 | Water in the entire system
| 5.2. Space Cooling - Chiller - Cost [US$/year] | 1 | energy cost to run the entire loop, chiller, pumps, CT etc.
| 5.2. Space Cooling - Chiller - Lost [m³/year] | 1 | due to leaks, refill, etc.
| 5.2. Space Cooling - Chiller - Maintenance Cost [US$/year] | 1 | maintenance, repairs, etc.
| Section 6: Description | Value | Notes
| 6.1. Restrooms [m³/year] | 1 | Usage Quantity for toilets, faucets, urinals, showers, etc.
| 6.1. Restrooms Energy Cost [US$/year] | 1 | Water heater energy cost, recirculating pump energy cost
| 6.2. Wash stations (Manufacturing Plant) [m³/year] | 1 | Usage quantity
| 6.2. Wash stations (Manufacturing Plant) Energy Cost [US$/year] | 1 | Water heater energy cost, recirculating pump energy cost
| 6.3. Kitchen Water Use [m³/year] | 1 | For food prep, washing, etc.
| 6.3. Kitchen Water Energy Cost [US$/year] | 1 | Water heater energy cost, recirculating pump energy cost
| 6.4. Maintenance Cost for domestic water [US$/year] | 1 | for items 6.1, 6.2, and 6.3
| Section 7: Description | Value | Notes
| 7.1 Water treatments - Incoming - Lost [m³/year] | 1 | any water that’s lost to the process, leaks, etc.
| 7.1 Water treatments - Incoming - Material Cost [US$/year] | 1 | Chemicals, treatment equipment maintenance
| 7.1 Water treatments - Incoming - Energy Cost [US$/year] | 1 | Pumps, etc.
| 7.2 Water treatments - Outgoing - Lost [m³/year] | 1 | any water that’s lost to the process, leaks, etc.
| 7.2 Water treatments - Outgoing - Material Cost [US$/year] | 1 | Chemicals, treatment equipment maintenance
| 7.2 Water treatments - Outgoing - Energy Cost [US$/year] | 1 | Pumps, etc.
| Section 8: Description | Value | Notes
| 8.1 Exterior Water Use (not returned to sewer) - Irrigation [m³/year] | 1 | Landscape watering,
| 8.1 Exterior Water Use (not returned to sewer) - Irrigation [US$/year] | 1 | energy cost for pumps, irrigation system maintenance
| 8.2 Exterior Water Use (not returned to sewer) - Other [m³/year] | 1 | Car washing, water fountains, pools, etc.
| 8.2 Exterior Water Use (not returned to sewer) - Others [US$/year] | 1 | energy cost for pumps, system maintenance
Outdoing (discharged water ) |  | ** most recent 12 month as the year
| Section 9: Description | Value | Notes
| 9.0 Annual waste water - Waste Water Utility [m³/year] | 1 | Quantity of water to the utility company
| 9.0 Annual waste water - Waste Water Utility [US$/year] | 1 | cost of sewer fee, etc.
| 9.1 Outgoing Water - Non Water Related Costs [US$/year] | 1 | Costs for water leaving the site, not capture in Section 7.2
| 9.2 Energy cost to move outgoing water [US$/year] | 1 | Energy cost for pumps, system maintenance, etc. not capture in Section 7.2
| Section 10: Description | Value | Notes
| 10.1 Water in product 1 [m³/year] | 1
| 10.2 Water in product 2 [m³/year] | 1
| 10.3 Water in product 3 [m³/year] | 1

## 2 DataAnalysis
Instructions
Blue Text | Entry required |  |  |  | 1000000.2 | Water Cost | Non Water Cost | Total Cost | True Unit Cost
Purple Text | Auto calculated; Do not change |  |  |  | Incoming | 250000 | 23260 | 273260 | 0.30029
Black Text | Do not change |  |  |  | Outgoing | 250000 | 50000 | 300000 | 0.3
[5 empty] | Total IN and OUT Water Cost | 500000 | 73260 | 573260 | 0.57326
[5 empty] | Use / Processing | N/A | 545840 | 545840 | 0.54584
[5 empty] | Total Unit Cost |  |  | 1119100 | 1.1191
Incoming Water |  |  | 1000000 | M3 | Water Use |  |  | 1000000.2 | m3 | Outgoing Water |  |  | 1000000 | m3
Water Costs | 250000 | Cost of water | 0.27473 | US$ / m3 | In this section, cost is being added as water is moved, heat/cooled, treated. There is no "pure water" cost in this section. |  |  |  |  | Water Costs | 250000 | Cost | 0.25189 | US$ / m3
Non-Water Costs | 23260 | TRUE cost of Water | 0.30029 | US$ / m3 | Moving and heating, cooling, treatment (MHCT) costs | 545840 | Total (MHCT) Cost | 0.54584 | US$ / m3 | Non-Water Costs | 50000 | TRUE Cost | 0.30227 | US$ / m3
1.0 Incoming Water |  |  |  |  | 3.0 Process Use |  |  |  |  | 9.0 Annual waste water - Sent to Waste Water Treatment Plant
Water Source | Notes | Quantity / year | Units | Cost [US$] / Year | Process Type | Notes | Quantity / year | Units | Cost [US$] / Year | Cost and Fee Types | Notes | Quantity / year | Units | Cost [US$] / Year
City water | Actual/Estimated | 900000 | m³ | 200000 | Material Washing | Actual/Estimated | 100000 | m³ / year | 57325.9885 | Treated Water - Discharged | Util Comp. Meter | = | m³ / year | 250000
Borehole water |  | 8000 | m³ | 35000 | Materila Peeling |  | 50000 | m³ / year | 28662.9943 | From Use - Leaks / Drained |  | 324025 | m³ / year | 0
Reclaimed water |  | 2000 | m³ | 15000 | Process 3 |  | 0 | m³ / year | 0 | Others 1 |  | 600000 | m³ / year | 0
Source 4 |  | 0 | m³ | 0 | Process 4 |  | 0 | m³ / year | 0 | Others 2 |  | 68475 | m³ / year | 0
Source 5 |  | 0 | m³ | 0 | Process 5 |  | 0 | m³ / year | 0 | Others 3 |  | 0 | m³ / year | 0
| Total - Pure Water | 910000 | m³ | 250000 | Clean in Place (CIP-1) |  | 26176 | m³ / year | 15005.6508 |  | Total DisCharged to WasteWater Utility | 992500 | m³ / year | 250000
|  |  | Unic Cost of Pure Water [US$/m3] | 0.27473 | Clean in Place (CIP-2) |  |  | m³ / year | 0 |  |  |  | Unic Cost of Pure Water [US$/m3] | 0.25189
[5 empty] | Clean in Place (CIP-3) |  |  | m³ / year | 0
1.1 Incoming Water - Non Water Related Costs |  |  | Units | Cost [US$/year] | Clean in Place (CIP-4) |  | 0 | m³ / year | 0 | 9.1 Outgoing Water - Non Water Related Costs |  |  | Units | Cost [US$/year]
Permits for borehole / well |  |  | 1 | 17000 |  | Total | 176176 | m³ / year | 100994.6336 | Permits |  |  | 1 | 30000
Other Costs |  |  | 1 | 10 | [5 empty] | Conservation Tax |  |  | 1 | 9000
| Unit Cost | 0.018692 | Total | 17010 | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year] |  | Unit Cost | 0.039295 | Total | 39000
[5 empty] | Water moving / processing equipment 1 | 150 | 8000 | 1200000 | 120000
[5 empty] | Water moving / processing equipment 2 | 150 | 8000 | 1200000 | 120000
1.2 Moving and heating, cooling, treatment (MHCT) costs |  |  |  |  | Annual Maintenance/Repair Costs |  |  | 0 | 5000 | 9.2 Moving and heating, cooling, treatment (MHCT) costs
Equipment | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 1.3907 | Toal MHCT Cost | 245000 | Equipment | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year]
Equipment 1 [kw] | 5 | 6000 | 30000 | 3000 | [5 empty] | Waste Water Pump Station | 10 | 6000 | 60000 | 6000
Equipment 2 [kw] | 5 | 6000 | 30000 | 3000 | you are double counting the Costs, |  |  | Total Cost of Water (water + MHCT) | 345994.6336 | Equipment 2 [kw] | 0 | 6000 | 0 | 0
Maintenance on Equipment (well pump, reclaimation system) |  |  |  | 250 | need to either remove the Processing cost, or |  |  | True Unit Cost [US$/m3] | 1.9639 | Maintenance on Equipment (well pump, reclaimation system) |  |  |  | 5000
| MHCT Unit Cost | 0.0068681 | Toal MHCT Cost | 6250 | Steven. The sytem is filled, to 32,000 M3, it loses 14,120 M3/year. Energy is needed to heat the ENTIER 32,000 M3, unit cost is $27,750/32000, right? | [5 empty] | MHCT Unit Cost | 0.011083 | Toal MHCT Cost | 11000
But, the re-fille needed, is 14,130, so that is that qty use for the BALANCE of water flow. The TRUE cost be the LOST water + the energy needed to heat the entire system + lost water
|  |  | Total (Non Water Related Csots + MHCT) | 23260 | 3.1. Process Heating - STEAM | Notes | Quantity / year | Units | Cost [US$] / Year |  |  |  | Total (Non Water Related Csots + MHCT) | 50000
|  |  | Unit (Non Water Related Csots + MHCT) cost | 0.02556 | Total Steam Requirement | Actual/Estimated | 30 | tonne/hr |  |  |  |  | Unit (Non Water Related Csots + MHCT) cost | 0.050378
[5 empty] | Average Operating Hours Per Day |  | 24 | hr / day
|  |  | Total Cost of Water (water + Non Water Related Costs + MHCT) | 273260 |  | Total steam per day | 720 | tonn/day |  |  |  |  | Total Cost of Water (water + Non Water Related Costs + MHCT) | 300000
|  |  | True Unit Cost [US$/m3] | 0.30029 | Average Operating Hours Per Year |  | 8000 | hours / year |  |  |  |  | True Unit Cost [US$/m3] | 0.30227
[6 empty] | Total steam per year | 240000 | tonne/year
2.0 Water In Raw Material - |  | (1) weight of water; (2) volumen of water |  |  |  |  | 1 | tonne to m3 |  | 10. In Product
Material | Weight | Weight Unit | % Moisture | Water Weight |  | Total water need per year | 240000 | m3/year | 137582.3725 | Material | Quantity | Weight Unit | % Moisture | Water Weight
Material 1 | 5000000 | kg | 80% | 4000000 | Blowdown losses - estimated |  | 4% | % |  | Product 1 | 5000000 | kg | 20% | 1000000
Material 2 | 10000000 | kg | 50% | 5000000 |  | Blowdown losses | 9600 | m3 | 5503.2949 | Product 2 | 10000000 | kg | 5% | 500000
Material 3 | 0 | kg | 0% | 0 | Condensate return - Estimated % |  | 20% | % |  | Product 3 | 0 | kg | 2% | 0
Material 4 | 0 | kg | 0% | 0 |  | Condensate losses | 192000 | m3 | 110065.898 | Product 4 |  | kg | 0% | 0
Material 5 | 0 | kg | 0% | 0 | Annual Drain / Refill |  | 50 | m3 |  | Product 5 |  | kg | 0% | 0
Material 6 | 0 | kg | 0% | 0 |  | Total make up water/year | 201650 | m3 / year | 115597.8559 | Product 6 |  | kg | 0% | 0
2a. Material | Weight to Volume Converation | Quantity | Units | Notes | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year] | 2a. Material | Weight to Volume Converation | Quantity | Units | Notes
Material 1 | 0.01 | 40000 | M3 |  | Boiler power requirement [kW] | 25 | 6000 | 150000 | 15000 | Product 1 | 0.005 | 5000 | m³ / year
Material 2 | 0.01 | 50000 | M3 |  | Condensate Pump power requirement (kW) | 25 | 5000 | 125000 | 12500 | Product 2 | 0.005 | 2500 | m³ / year
Material 3 | 0.001 | 0 | M3 |  | Annual Maintenance/Repair Costs |  |  |  | 250 | Product 3 | 0 | 0 | m³ / year
Material 4 | 0.001 | 0 | M3 |  | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.11563 | Toal MHCT Cost | 27750 | Product 4 | 0 | 0 | m³ / year
Material 5 | 0.001 | 0 | M3 | [6 empty] | Product 5 | 0 | 0 | m³ / year
Material 6 | 0.001 | 0 | M3 |  |  |  |  | Total Cost of Water (water + MHCT) | 138913.6371 | Product 6 | 0 | 0 | m³ / year
| Total - Material Water | 90000 | M3 |  |  |  |  | True Unit Cost [US$/m3] | 0.68888 |  | Total Water In Product | 7500 | m³ / year
[5 empty] | 3.2. Process Heating - Hot Water | Notes | Quantity | Units | Cost [US$] / Year
Some Common Conversion Factors |  |  |  |  | Total System Water Capacity |  | 250000 | m3
1 kg of water (at standard temp. and density) ~= |  |  | 0.001 | M3 | Blowdown losses - estimated |  | 50% | per year
1 us lbs of water ~= |  |  | 0.12 | us gallons of water |  | Blowdown losses | 125000 |  | 71657.4857
1 us gallons of water ~= |  |  | 0.0037854 | M3 | Annual leaks/drains and refill |  | 25 | m3 | 14.3315
[6 empty] | Total make up water/year | 125025 | m3 / year | 71671.8172
[5 empty] | Water Heating | Notes | Quantity | Units
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Boiler Equipment | 1 | 6000 | 6000 | 600
[5 empty] | Water Pumps total power [kW] | 5 | 6000 | 30000 | 3000
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 50
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.0146 | Toal MHCT Cost | 3650
[8 empty] | Total Cost of Water (water + MHCT) | 73497.1822
[8 empty] | True Unit Cost [US$/m3] | 0.58786
[5 empty] | 3.3. Process Cooling - Cooling Tower | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Installed Cooling Capacity | Actual/Estimated | 5 | kW
[5 empty] | Design Evaporation Rate [qty/hour] |  | 20 | m3 / hour
[5 empty] | Average Operating Hours Per Year |  | 4800 | hours / year
[5 empty] | Total Quantity of Water Moved |  | 200000 | m3 | 114651.9771
[5 empty] | Evaporation Quantity |  | 120000 | m3 | 68791.1862
[5 empty] | Loss to leaks and blow down |  | 100 | m3 / year | 57.326
[6 empty] | Total make up water/year | 120100 | m3 / year | 68848.5122
[5 empty] | Equipment | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Cooling Tower Fans [kW] | 100 | 4800 | 480000 | 48000
[5 empty] | Water Pumps Power [kW] | 50 | 4800 | 240000 | 24000
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 450
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.36225 | Toal MHCT Cost | 72450
MHCT unit cost for lost water only, not the entire system
[8 empty] | Total Cost of Water (water + MHCT) | 112354.7372
[8 empty] | True Unit Cost [US$/m3] | 0.93551
[5 empty] | 3.4. Process Cooling - Chillers | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Installed Cooling Capacity |  | 5 | kW
[5 empty] | Designed Evaporation rate [qty/hour] |  | 20 | m3 / year
[5 empty] | Operating hours per year |  | 4800 | hours / year
[5 empty] | System Quantity |  | 100000 | m3 / year
[5 empty] | Loss to leaks and blow down |  | 96000 | m3 / year |  | you need to calculate the cooling rate to figure out water usge rate.
[6 empty] | Total make up water/year | 96000 | m3 / year | 55032.949
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Chiller [kW] | 100 | 8500 | 850000 | 85000
[5 empty] | Water Pumps Power [kW] | 100 | 8500 | 850000 | 85000
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 5230
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 1.7523 | Toal MHCT Cost | 175230
[8 empty] | Total Cost of Water (water + MHCT) | 223253.749
[8 empty] | True Unit Cost [US$/m3] | 2.3256
Utility - Heating
[5 empty] | 4.1. Space Heating - STEAM | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Total Steam Requirement | Actual/Estimated | 40 | tonne/hr
[5 empty] | Average Operating Hours Per Day |  | 24 | hr / day
[6 empty] | Total steam per day | 960 | tonn/day
[5 empty] | Average Operating Hours Per Year |  | 8000 | hours / year
[6 empty] | Total steam per year | 320000 | tonne/year
[7 empty] | 1 | tonne to m3
[6 empty] | Total water need per year | 320000 | m3/year | 183443.1633
[5 empty] | Blowdown losses - estimated |  | 4% | %
[6 empty] | Blowdown losses | 12800 | m3 | 7337.7265
[5 empty] | Condensate return - Estimated % |  | 60% | %
[6 empty] | Condensate losses | 128000 | m3 | 73377.2653
[5 empty] | Annual Drain / Refill |  | 50 | m3
[6 empty] | Total make up water/year | 140850 | m3 / year | 80743.6549
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Boiler power requirement [kW] | 25 | 6000 | 150000 | 15000
[5 empty] | Condensate Pump power requirement (kW) | 25 | 5000 | 125000 | 12500
[5 empty] | Annual Maintenance/Repair Costs |  |  |  | 250
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.086719 | Toal MHCT Cost | 27750
[8 empty] | Total Cost of Water (water + MHCT) | 92957.9908
[8 empty] | True Unit Cost [US$/m3] | 0.65998
[5 empty] | 4.2. Space Heating - Hot Water | Notes | Quantity | Units | Cost [US$] / Year
[5 empty] | Total System Water Capacity | Storage tank, boiler | 1000 | m3
[5 empty] | Blowdown losses - estimated |  | 5% | per year
[6 empty] | Blowdown losses | 50 |  | 28.663
[5 empty] | Annual leaks/drains and refill |  | 25 | m3 | 14.3315
[6 empty] | Total make up water/year | 75 | m3 / year | 42.9945
[5 empty] | Water Heating | Notes | Quantity | Units
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Boiler Equipment | 1 | 6000 | 6000 | 600
[5 empty] | Water Pumps total power [kW] | 1 | 6000 | 6000 | 600
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 50
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 1.25 | Toal MHCT Cost | 1250
[8 empty] | Total Cost of Water (water + MHCT) | 136.7445
[8 empty] | True Unit Cost [US$/m3] | 1.8233
Utility - Cooling
[5 empty] | 5.1. Space Cooling - Cooling Tower | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Installed Cooling Capacity | Actual/Estimated | 5 | kW
[5 empty] | Design Evaporation Rate [qty/hour] |  | 50 | m3 / hour
[5 empty] | Average Operating Hours Per Year |  | 4800 | hours / year
[5 empty] | Total Quantity of Water Moved |  | 100000 | m3 | 57325.9885
[5 empty] | Evaporation Quantity |  | 80000 | m3 | 45860.7908
[5 empty] | Loss to leaks and blow down |  | 100 | m3 / year | 57.326
[6 empty] | Total make up water/year | 80100 | m3 / year | 45918.1168
[5 empty] | Equipment | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Cooling Tower Fans [kW] | 100 | 5000 | 500000 | 50000
[5 empty] | Water Pumps Power [kW] | 50 | 4500 | 225000 | 22500
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 450
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.7295 | Toal MHCT Cost | 72950
MHCT unit cost for lost water only, not the entire system
[8 empty] | Total Cost of Water (water + MHCT) | 104351.0668
[8 empty] | True Unit Cost [US$/m3] | 1.3028
[5 empty] | 5.2. Space Cooling - Chiller | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Installed Cooling Capacity |  | 5 | kW
[5 empty] | Designed Evaporation rate [qty/hour] |  | 50 | m3 / year
[5 empty] | Operating hours per year |  | 4800 | hours / year
[5 empty] | System Quantity |  | 240000 | m3
[5 empty] | Loss to leaks and blow down |  | 100 | m3 / year
[6 empty] | Total make up water/year | 100 | m3 / year | 57.326
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Chiller [kW] | 100 | 8500 | 850000 | 85000
[5 empty] | Water Pumps Power [kW] | 100 | 8500 | 850000 | 85000
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 5230
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.73013 | Toal MHCT Cost | 175230
[8 empty] | Total Cost of Water (water + MHCT) | 130.3385
[8 empty] | True Unit Cost [US$/m3] | 1.3034
Sanitation and Kitchen
[5 empty] | 6.1. Restrooms | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Full time Staff per shift - Male | Actual/Estimated | 500
[5 empty] | Full time Staff per shift - female |  | 200
[5 empty] | Number of shifts per day |  | 2
[5 empty] | Full time work days per year |  | 365
[5 empty] | Male Urnial Use / shift |  | 4 | Use / shift
[5 empty] | Male Toilet Use / shift |  | 1 | Use / shift
[5 empty] | FeMale Toilet Use / Shift |  | 5 | Use / shift | N/A
[6 empty] | Male Urnial use / year | 1460000
[6 empty] | Male Toilet use / year | 365000
[6 empty] | FeMale Toilet use / year | 730000
[5 empty] | Toilet flush rate |  | 0.007 | m3
[5 empty] | Urnial flush rate |  | 0.007 | m3
[6 empty] | Total Urnial / Toilet Water Use / year | 17885 | m3 / year
[5 empty] | Hand washing faucet flow rate |  | 0.008 | m3 / min
[5 empty] | Hand washing duration |  | 0.5 | minutes / use
[6 empty] | Hand washing (Male and Female) | 2555000 | Use / year
[6 empty] | Total Hand Washing Water use | 10220 | m3 / year
[5 empty] | Shower Flow rate |  | 0.008 | m3 / min
[5 empty] | Shower Use Duration |  | 10 | minutes / use
[5 empty] | % of employee using shower per shift |  | 10%
[6 empty] | Total Annual Shower Water | 4088 | m3 / year
[6 empty] | Total Restroom Use | 32193 | m3 | 18454.9555
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | DHW water heater [kW] | 5 | 8000 | 40000 | 4000
[5 empty] | Water Pumps Power [kW] | 2 | 8000 | 16000 | 1600
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 500
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.18948 | Toal MHCT Cost | 6100
[8 empty] | Total Cost of Water (water + MHCT) | 24554.9555
[8 empty] | True Unit Cost [US$/m3] | 0.76274
[5 empty] | 6.2. Washstations (Manufacturing Plant) | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Full time Staff per shift | Mfg. Area washing | 700
[5 empty] | Number of shifts per day |  | 2
[5 empty] | Full time work days per year |  | 360
[5 empty] | Hand washing faucet flow rate |  | 0.008 | m3/ min
[5 empty] | Hand washing duration |  | 3 | minutes / use
[6 empty] | Hand washing | 504000 | Washes / year
[6 empty] | Total Hand Washing Water use | 12096 | m3 / year | 6934.1516
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | DHW water heater [kW] | 0.5 | 8000 | 4000 | 400
[5 empty] | Water Pumps Power [kW] | 1 | 8000 | 8000 | 800
[5 empty] | Annual Maintenance/Repair Costs |  |  |  | 50
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.10334 | Toal MHCT Cost | 1250
[8 empty] | Total Cost of Water (water + MHCT) | 8184.1516
[8 empty] | True Unit Cost [US$/m3] | 0.6766
[5 empty] | 6.3. Kitchen Water Use | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Kitchen faucet flow rate |  | 0.008 | m3/ min
[5 empty] | Duration per use |  | 1 | minutes / use
[5 empty] | Faucet uses per shift, per employee |  | 2 | uses / shift
[5 empty] | % of employee using kitchen / workday |  | 20%
[6 empty] | Total Annual Kitchen Faucet Water Use | 1635.2 | m3 year | 937.3946
[5 empty] | Equipment | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | DHW water heater [kW] | 0.5 | 100 | 50 | 5
[5 empty] | Water Pumps Power [kW] | 1 | 250 | 250 | 25
[5 empty] | Annual Maintenance/Repair Costs |  |  |  | 50
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.048924 | Toal MHCT Cost | 80
[8 empty] | Total Cost of Water (water + MHCT) | 1017.3946
[8 empty] | True Unit Cost [US$/m3] | 0.62218
7. Water treatments
[5 empty] | 7.1 Incoming Water | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Water used in Treament process that’s not recovered |  | 5000 | m3 / year | 2866.2994
[5 empty] | Chemical for water treatment | Actual/Estimated | 3000 | kg | 500
[5 empty] | Chemical treatment service contraxct |  | 4 | visits | 100
[5 empty] | Water quality tests |  | 52 | tests / year | 50
[5 empty] | Others |  | 0 | tests / year | 0
[5 empty] | Water used for treatment, then drained? Add the Chem. Cost | Water Treatment Cost |  |  | 650
[5 empty] | Equipment (for Treatment Process) | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Water Pumps Power [kW] | 10 | 6000 | 60000 | 6000
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 250
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 1.25 | Toal MHCT Cost | 6250
[8 empty] | Total Cost of Water (water + MHCT) | 9766.2994
[8 empty] | True Unit Cost [US$/m3] | 1.9533
[5 empty] | 7.2 Outoing Water | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Water used in Treament process that’s not recovered |  | 5000 | m3 | 2866.2994
[5 empty] | Chemical for water treatment | Actual/Estimated | 3000 | kg | 500
[5 empty] | Chemical treatment service contraxct |  | 4 | visits | 50
[5 empty] | Water quality tests |  | 52 | tests / year | 50
[5 empty] | Others |  | 0 | tests / year | 0
[6 empty] | Water Treatment Cost |  |  | 600
[5 empty] | Equipment (for Treatment Process) | Power Requirement | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Water Pumps Power [kW] | 5 | 8760 | 43800 | 4380
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 100
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 0.896 | Toal MHCT Cost | 4480
[8 empty] | Total Cost of Water (water + MHCT) | 7946.2994
[8 empty] | True Unit Cost [US$/m3] | 1.5893
8. Exterior Water Use (not returned to sewer system)
[5 empty] | Use | Notes | Quantity / year | Units | Cost [US$] / Year
[5 empty] | Irrigation | Actual/Estimated | 2000 | m3 / year | 1146.5198
[5 empty] | Water Fountain - Evaporated water Refill per |  | 1000 | m3 / year | 573.2599
[5 empty] | Others - car washing, pavement washing, etc. |  | 1000 | m3 | 573.2599
[6 empty] | Total | 4000 | m3 | 2293.0395
[5 empty] | Equipment | Power | Use Hours/year | Use [kwh/year] | Cost [US$/year]
[5 empty] | Water Pumps Power [kW] | 10 | 4000 | 40000 | 4000
[5 empty] | Annual Maintenance/Repair Costs | N/A | N/A |  | 250
[5 empty] | ** assume equipment operate at 100% rate power | MHCT Unit Cost | 1.0625 | Toal MHCT Cost | 4250
[8 empty] | Total Cost of Water (water + MHCT) | 6543.0395
[8 empty] | True Unit Cost [US$/m3] | 1.6358
Note on D11: Eric Tu: calculated on the total quantity in section 1.0
Note on H11: Eric Tu: any other cost - not capatured in the outdoing treatment or in the utility bill. i.e. all the internal heating, cooling, treatement costs
Note on J11: Eric Tu: any other cost - not capatured in the outdoing treatment or in the utility bill. i.e. all the internal heating, cooling, treatement costs
Note on N11: Eric Tu: any other cost - not capatured in the outdoing treatment (in the Use setion) or in the utility bill.
Note on L15: Eric Tu: This is calculated using the 1. cost of incoming + 2 cost of outgoing to determine the water unit cost
Note on J57: Eric Tu: ask STEVEN, cost of heating the water, is for the Total System Volume, right?
Note on L57: Eric Tu: ENERGY Cost to condition the TOTAL system

## 3_Report
Water Balance At a Glance
Category | Quantity [m3/year] | Water Cost [US$/year] | Water Unit Cost [US$/m3] | Non-Water Cost [US$/year] | True Total Cost [US$/year] | True Unit Cost [US$/m3]
Incoming Water | 1000000 | 250000 | 0.25 | 23260 | 273260 | 0.30029
Outgoing Water | 1000000 | 250000 | 0.25 | 50000 | 300000 | 0.3
Water Use | 1000000.2 | 0 | N/A | 545840 | 545840 | 0.54584
Totals Cost | 1000000 | 500000 | 0.5 | 619100 | 1119100 | 1.1191
TRUE COST of water at a Glance
Water Use Breakdown
Water Use | Usage Qty [m3/year] | Total In/Out Cost [US$/year] | MCHT Cost [US$/year] | MCHT Unit Cost [US$/M3] | Total (In+Out + MCHT) [US$/year] | True Cost [US$/m3]
3.0 Process Use | 176176 | 100994.6336 | 245000 | 1.3907 | 345994.6336 | 1.9639
3.1. Process Heating - STEAM | 201650 | 115597.8559 | 23315.7812 | 0.11563 | 138913.6371 | 0.68888
3.2. Process Heating - Hot Water | 125025 | 71671.8172 | 1825.365 | 0.0146 | 73497.1822 | 0.58786
3.3. Process Cooling - Cooling Tower | 120100 | 68848.5122 | 43506.225 | 0.36225 | 112354.7372 | 0.93551
3.4. Process Cooling - Chillers | 96000 | 55032.949 | 168220.8 | 1.7523 | 223253.749 | 2.3256
4.1. Space Heating - STEAM | 140850 | 80743.6549 | 12214.3359 | 0.086719 | 92957.9908 | 0.65998
4.2. Space Heating - Hot Water | 75 | 42.9945 | 93.75 | 1.25 | 136.7445 | 1.8233
5.1. Space Cooling - Cooling Tower | 80100 | 45918.1168 | 58432.95 | 0.7295 | 104351.0668 | 1.3028
5.2. Space Cooling - Chiller | 100 | 57.326 | 73.0125 | 0.73013 | 130.3385 | 1.3034
6.1. Restrooms | 32193 | 18454.9555 | 6100 | 0.18948 | 24554.9555 | 0.76274
6.2. Washstations (Manufacturing Plant) | 12096 | 6934.1516 | 1250 | 0.10334 | 8184.1516 | 0.6766
6.3. Kitchen Water Use | 1635.2 | 937.3946 | 80 | 0.048924 | 1017.3946 | 0.62218
7.1 Incoming Water | 5000 | 2866.2994 | 6900 | 1.25 | 9766.2994 | 1.9533
7.2 Outoing Water | 5000 | 2866.2994 | 5080 | 0.896 | 7946.2994 | 1.5893
8. Exterior Water Use (not returned to sewer system) | 4000 | 2293.0395 | 4250 | 1.0625 | 6543.0395 | 1.6358
Total Water Use | 1000000.2 | 573260 | 576342.2197 | 0.57634 | 1149602.2197 | 1.1496
Incoming Water Breakdown
Category | Qty [m3/year] | Total In Cost [US$/year] | Non Water Cost Cost [US$/year] | Non Water Unit Cost [US$/M3] | Total [US$/year] | Total Unit Cost [US$/m3]
1.0 Incoming Water | 910000 | 250000 | N/A | N/A | 250000 | 0.27473
1.1 Incoming Water - Non Water Related Costs | N/A | N/A | 17010 | 0.018692 | 17010 | 0.018692
1.2 Moving and heating, cooling, treatment (MHCT) costs | N/A | N/A | 6250 | 0.0068681 | 6250 | 0.0068681
2.0 Water In Raw Material - | 90000 | N/A | N/A | N/A | N/A | N/A
Total Water Use | 1000000 | 250000 | 23260 | 0.02556 | 273260 | 0.30029
Outgoing Water
Category | Qty [m3/year] | Total In Cost [US$/year] | Non Water Cost Cost [US$/year] | Non Water Unit Cost [US$/M3] | Total [US$/year] | Total Unit Cost [US$/m3]
9.0 Annual waste water - Sent to Waste Water Treatment Plant | 992500 | 250000 | N/A | N/A | 250000 | 0.25189
9.1 Outgoing Water - Non Water Related Costs | N/A | N/A | 39000 | 0.039295 | 39000 | 0.039295
9.2 Moving and heating, cooling, treatment (MHCT) costs | N/A | N/A | 11000 | 0.011083 | 11000 | 0.011083
10. In Product | 7500 | N/A | N/A | N/A | N/A | N/A
Total Water Use | 1000000 | 250000 | 50000 | 0.050378 | 300000 | 0.30227
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
Note on B7: Eric Tu: Moving, Heating, Cooling, Treatment